## calculation
TEST EQUIPMENT CALCULATION TOOL | [8 empty] | https://firesecurityproducts.com/en/search?q=test%20equipment | [5 empty] | Project name >>>
PORTFOLIO | [8 empty] | CALCULATION TOOL | [13 empty] | NOTES & SETTINGS |  |  | 1 | Your Project - WITH CAPSULES | [5 empty] | 1 | Your Project - WITH CANS
|  |  | TH012 | TS806-03 | TS808 | TS816 | TS826 |  | 1. Please fill in the table the number of detectors you intend to test without going back at the office/depot | day 1 | day 2 | day 3 | day 4 | day 5 | day 6 | day 7 | day 8 | day 9 | day 10 |  | Total |  |  |  |  | 2 | Number of tests | [5 empty] | 2 | Number of tests
|  | SMOKE |  | X | X | X | X |  | SMOKE Detector | [11 empty] | 0 | 0 |  |  |  | 3 |  | SMOKE tests | 0 |  |  |  | 3 |  | SMOKE tests | 0
|  | CO |  | X | X |  | X |  | CO Detector | [11 empty] | 0 | 0 | For multi-detectors, please set 1 test per feature tested. |  |  | 4 |  | CO tests | 0 |  |  |  | 4 |  | CO tests | 0
|  | HEAT | X | X |  | X | X |  | HEAT Detector | [11 empty] | 0 | 0 | Ex. 1 Smoke & heat detector = 2 tests. |  |  | 5 |  | HEAT tests | 0 |  |  |  | 5 |  | HEAT tests | 0
Kit Nbr | Link | SKU Description | [5 empty] | Price | 2. Please fill the main kits or spare detectors that you have (blue cells to be filled) | [10 empty] | missing kits / scenarios | [5 empty] | 6 | BOQ | SKU | Description | Qty | UP | Total | 6 | BOQ | SKU | Description | Qty | UP | Total
TS806-03 | https://firesecurityproducts.com/en/product/fire/TS806_03/52666 | SMOKE & CORDLESS HEAT DETECTOR TEST SET 6.0M | [6 empty] | No | [9 empty] | 0 | 0 | 0 |  |  |  |  | 6 | [6 empty] | 6 |  |  |  | 0
TS808 | https://firesecurityproducts.com/en/product/fire/TS808/37546 | SMOKE TEST KIT FOR 4M | [6 empty] | No | [9 empty] | 0 | 0 | 0 |  |  |  |  | 6 | [6 empty] | 6 |  |  |  | 0
TS816 | https://firesecurityproducts.com/en/product/fire/TS816/37551 | SMOKE & HEAT DETECTOR TEST SET 6. 0M | [6 empty] | No | [9 empty] | 0 | 0 | 0 |  |  |  |  | 6 |  |  |  | 0 |  |  | 6
TS826 | https://firesecurityproducts.com/en/product/fire/TS826/37556 | SMOKE, HEAT & CO DETECTOR TEST SET 6. 0M | [6 empty] | No | [9 empty] | 0 | 0 | 0 |  |  |  |  | 6 |  |  |  | 0 |  |  | 6
TH012 | https://firesecurityproducts.com/en/product/fire/TH012/37531 | BATTERY POWERED HEAT DETECTOR battery kit |  | 1 |  |  |  |  | No | [10 empty] | 0 | 0 |  |  |  |  | 6 |  |  |  | 0 |  |  | 6 |  |  |  | 0
SKU Nbr | Link | SKU Description | [5 empty] | Price | [17 empty] | 6 | [6 empty] | 6
|  | SPARE DETECTORS | [23 empty] | 6 | [6 empty] | 6
TH010 | https://firesecurityproducts.com/en/product/fire/TH010/37526 | HEAT DETECTOR TESTER ON SWING FRAME main powered |  | - | - | - | - |  | No | [9 empty] | 0 |  | 0 |  |  |  |  | 6 | [6 empty] | 6
TM010 | https://firesecurityproducts.com/en/product/fire/TM010/37536 | UNIVERSAL SMOKE AND HEAT DETECTOR TESTER |  | - | - | 1 | - |  | No | [9 empty] | 0 |  | 0 |  |  |  |  | 6 | [6 empty] | 6
TR010 | https://firesecurityproducts.com/en/product/fire/TR010/37541 | TOUCH SENSITIVE DISP.CUP ON SWING FRAME |  | 1 | 1 | - | - |  | No | [9 empty] | 0 |  | 0 |  |  |  |  | 6 | [6 empty] | 6
- | - | Test Head only | 1 | [22 empty] | 6 | [6 empty] | 6
TM012 | https://firesecurityproducts.com/en/product/fire/TM012/85986 | Test head kit for heat, smoke & CO |  | - | - | - | 1 |  | No | [9 empty] | 0 |  | 0 |  |  |  |  | 6 | [6 empty] | 6
[26 empty] | 6 | [6 empty] | 6
|  | BATTERIES & BATTERY KIT | [6 empty] | The battery calculation is made on a base of 1 load a day | [16 empty] | 6 | [6 empty] | 6
TBC100 | https://firesecurityproducts.com/en/product/fire/TBC100/86296 | REPLACEMENT BATTERY CHARGER FOR USE WITH FIRE TEST KITS compatible with all testers with batteries (not with cords nor main powered supplied) | 1 | [17 empty] | 0 |  | Based on AVG of | 200 | std test / battery | 6 |  |  |  | 0 |  |  | 6 |  |  |  | 0
TH013BB | https://firesecurityproducts.com/en/product/fire/TH013BB/84836 | REPLACEMENT BATTERY BATON FOR USE WITH FIRE TEST KITS compatible with all testers with batteries (not with cords nor main powered supplied) | 2 |  | - |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Based on AVG of | 50 | heat test / battery | 6 |  |  |  | 0 |  |  | 6 |  |  |  | 0
|  | AEROSOLS & CAPSULES | [6 empty] | calculation of the number of cans spent / day | [16 empty] | 6 | [6 empty] | 6
SC008CO | https://firesecurityproducts.com/en/product/fire/SC008CO/37486 | CO FIRE DETECTOR TEST SPRAY 1sec. Press only |  |  |  | - | - |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Based on AVG of | 15 | tests per can | 6 | [6 empty] | 6 |  |  |  | 0
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | WORST CASE | 0 |  | Worst case is | 10 | tests per can | 6 | [6 empty] | 6
SC010 | https://firesecurityproducts.com/en/product/fire/SC010/77851 | AEROSOL TEST SPRAY FOR SMOKE DETECTORS, HFC FREE 1sec. Press only |  |  |  | - | - |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Based on AVG of | 170 | tests per can | 6 | [6 empty] | 6 |  |  |  | 0
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | WORST CASE | 0 |  | Worst case is | 160 | tests per can | 6 | [6 empty] | 6
[9 empty] | calculation of the number of capsules spent / day | [13 empty] | packages | 1 | can per box/sku | 6 | [6 empty] | 6
6TM008CO | https://firesecurityproducts.com/en/product/fire/6TM008CO/86286 | REPLACEMENT CO CAPSULE FOR USE WITH TS826 |  | - | - | - | 1/6 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Based on AVG of | 60 | tests per capsule | 6 |  |  |  | 0 |  |  | 6
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | WORST CASE | 0 |  | Worst case is | 40 | tests per capsule | 6 | [6 empty] | 6
6TM008SM | https://firesecurityproducts.com/en/product/fire/6TM008SM/86291 | REPLACEMENT SMOKE CAPSULE FOR USE WITH TM010 |  | - | - | 1/6 | 1/6 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Based on AVG of | 450 | tests per capsule | 6 |  |  |  | 0 |  |  | 6
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | WORST CASE | 0 |  | Worst case is | 400 | tests per capsule | 6 | [6 empty] | 6
|  | REPLACEMENT RUBBERS | [6 empty] | 3. Please set below the on-demand material if needed | [13 empty] | packages | 6 | capsule per box/sku | 6 | [6 empty] | 6
TR010R | https://firesecurityproducts.com/en/product/fire/TR010R/86306 | REPLACEMENT RUBBER RIM FOR TR010 |  |  |  | - | - | [13 empty] | 0 |  |  |  |  | 6 |  |  |  | 0 |  |  | 6 |  |  |  | 0
TM0XXR | https://firesecurityproducts.com/en/product/fire/TM0XXR/86301 | REPLACEMENT RUBBER RIM FOR TM0XX |  | - | - | [15 empty] | 0 |  |  |  |  | 6 |  |  |  | 0 |  |  | 6 |  |  |  | 0
|  | POLES & ACCESORRIES | [23 empty] | 6 | [6 empty] | 6
CB001 | https://firesecurityproducts.com/en/product/fire/CB001/37506 | CARRYING BAG FOR SMOKE TEST TOOLS |  | 1 |  | 1 | 1 | [13 empty] | 0 |  |  |  |  | 6 |  |  |  | 0 |  |  | 6 |  |  |  | 0
ET010 | https://firesecurityproducts.com/en/product/fire/ET010/37511 | FIBRE-GLASS TELESCOPIC POLE 4.5M |  | 1 |  | 1 | 1 | [13 empty] | 0 |  |  |  |  | 6 |  |  |  | 0 |  |  | 6 |  |  |  | 0
ET011 | https://firesecurityproducts.com/en/product/fire/ET011/37516 | FIBRE-GLASS EXTENSION POLE 1.2M | [18 empty] | 0 |  |  |  |  | 6 |  |  |  | 0 |  |  | 6 |  |  |  | 0
- | - | FIBRE-GLASS TELESCOPIC POLE 2.5M |  | - | 1 | - | - | [13 empty] | 0 |  |  |  |  | 6 |  |  |  | 0 |  |  | 6 |  |  |  | 0
FG010 | https://firesecurityproducts.com/en/product/fire/FG010/37521 | UNIVERSAL REMOVAL TOOL ON SWING FRAME allow to remove or replace any detector from 0 to 45° |  | 1 |  | 1 | 1 | [13 empty] | 0 |  |  |  |  | 6 |  |  |  | 0 |  |  | 6 |  |  |  | 0
[26 empty] | 7 | [6 empty] | 7
[26 empty] | 8 |  |  | Total price |  |  | 0 | 8 |  |  | Total price |  |  | 0

## CAPSULES
Your Project - WITH CAPSULES
Number of tests
| SMOKE tests | 0
| CO tests | 0
| HEAT tests | 0
BOQ | SKU | Description | Qty | UP | Total
|  | Total price |  |  | 0

## CANS
Your Project - WITH CANS
Number of tests
| SMOKE tests | 0
| CO tests | 0
| HEAT tests | 0
BOQ | SKU | Description | Qty | UP | Total
|  | Total price |  |  | 0